Technical Training

The Contractor shall provide manufacture technician level training for two of Eglin's fire alarm technicians. Training shall include the follow:

a. Eight (8) hours of off-site maintenance and operation training for the fire alarm system installed. Training shall take place at the closest available location where the manufacture trains technicians.

b. Eight (8) hours of on-site familiarization training for the entire fire alarm system installed.