## Sheet1
ROADWAY
Line Item | Description | Quantity | Unit of Measure | Unit Cost | Total
1 | Mobilization | 1 | EA |  | 0
2 | Maintenance of Traffic | 1 | LS |  | 0
3 | Stormwater Pollution Prevention (Must include NPDES Permit, Plans, Installation and Replacement) | 1 | LS |  | 0
4 | Building Permit from Escambia County | 1 | LS |  | 0
5 | Existing Toll Booth Demolition | 1 | LS |  | 0
6 | Clearing and Grubbing | 1 | LS |  | 0
7 | Manhole Adjustment | 1 | EA |  | 0
8 | 6" Water Main Removal | 77 | LF |  | 0
9 | Guard Rail Removal | 200 | LF |  | 0
10 | Removal of Existing Pavement Markings | 758 | SF |  | 0
11 | Removal of Existing Concrete | 3600 | SY |  | 0
12 | Milling Existing Asphalt- 2" Average Depth | 6012 | SY |  | 0
13 | 6" Bahama Rock Subbase | 1484 | SY |  | 0
14 | 8" Bahama Rock Base | 1484 | SY |  | 0
15 | Type SP-12.5 (PG 76-22 Mix)- 2" Depth | 849 | TN |  | 0
16 | Type SP-9.5 (PG 76-22 Mix)- 1-1/2" Depth | 121 | TN |  | 0
17 | 5" Concrete (4,000 PSI) with Welded Wire Fabric | 63 | SY |  | 0
18 | Erosion Cloth | 447 | SY |  | 0
19 | Rip-Rap, Bank and Shore | 1406 | TN |  | 0
20 | White Sand Per Escambia County Standards | 2500 | CY |  | 0
21 | Curb and Gutter, FDOT Type F | 2002 | LF |  | 0
22 | 12" Ribbon Curb and Gutter, FDOT Type E | 265 | LF |  | 0
23 | Concrete Traffic Separator, Type I - 4' Wide | 342 | LF |  | 0
24 | Crash Cushion, TL-3,2, Narrow | 2 | EA |  | 0
25 | Thermoplastic, 6" SkipSolid White (10-30) | 0.097 | GM |  | 0
26 | Thermoplastic, 6" Skip White (2-4)Solid Yellow | 0.04 | GM |  | 0
27 | Thermoplastic, 188" Solid White for Diagonals and Chevrons | 0.024 | LFGM |  | 0
28 | Thermoplastic, 6" Skip White (10-30) | 0.026 | GM |  | 0
29 | Thermoplastic, 6" Skip White (2-4) | 0.007 | GM |  | 0
30 | Thermoplastic, 18" White for Diagonals and Chevrons | 1420 | LF |  | 0
31 | Thermoplastic, Standard, White, Arrow | 4 | EA |  | 0
32 | Yellow 8" Painted Pavement MarkingsDurable Paint for Island Nose | 10 | LFSF |  | 0
33 | 6' Chain link Fence | 120 | LF |  | 0
34 | 6' Chain Link Single Gate | 1 | EA |  | 0
35 | Install New Traffic Sign | 6 | EA |  | 0
36 | Relocate Existing Traffic Sign | 2 | EA |  | 0
37 | Temporary Pavement- MOT | 544 | SY |  | 0
38 | Arrow Boards- MOT | 2 | EA |  | 0
39 | Channelizing Devices- MOT | 260 | EA |  | 0
40 | Work Zone Signs- MOT | 33 | EA |  | 0
41 | Type III Barricades- MOT | 17 | EA |  | 0
TOTAL |  |  |  |  | 0
STRUCTURAL
Line Item | Description | Quantity | Unit of Measure | Unit Cost | Total
42 | Nonaccessible Gantry - 66' Span | 1 | EA |  | 0
43 | Barrier Pier | 8 | LF |  | 0
44 | Barrier Wall- Standard | 89 | LF |  | 0
45 | Barrier Wall- Transition | 72 | LF |  | 0
46 | Drilled Shaft | 40 | LF |  | 0
47 | ITS Pole Foundation | 10 | LF |  | 0
48 | Equipment Platform | 1 | LS |  | 0
49 | Painting and Coating (Gantry + Platform) | 1 | LS |  | 0
TOTAL |  |  |  |  | 0
INTELLIGENT TRANSPORTATION SYSTEMS (ITS)
Line Item | Description | Quantity | Unit of Measure | Unit Cost | Total
50 | Conduit, Furnish &Amp; Install Install, Open Trench | 2655 | LF |  | 0
51 | Conduit, Furnish &Amp; Install Install, Directional Bore | 3740 | LF |  | 0
52 | Conduit, Furnish &Amp; Install Install, Aboveground | 135 | LF |  | 0
53 | Conduit, Furnish &Amp; Install Install, Bridge Mount | 14560 | LF |  | 0
54 | Fiber Optic Cable, F&Amp; I, Underground, 2-12Overhead, 13-48 Fibers | 3930 | LF |  | 0
55 | Fiber Optic Cable, F&Amp; I, Underground, 13-482-12 Fibers | 350 | LF |  | 0
56 | Fiber Optic Cable, F&I, Underground, 13-48 Fibers | 7750 | LF |  | 0
57 | Fiber Optic Connection, Install, Splice | 30 | EA |  | 0
58 | Fiber Optic Connection, Install, Termination | 60 | EA |  | 0
59 | Fiber Optic Connection Hardware, F&Amp; I, Splice Enclosure | 4 | EA |  | 0
60 | Fiber Optic Connection Hardware, F&Amp; I, Splice Tray | 5 | EA |  | 0
61 | Fiber Optic Connection Hardware, F&I, Buffer Tube Fan Out Kit | 4 | EA |  | 0
62 | Fiber Optic Connection Hardware, F&I, Patch Panel, Field Terminated | 3 | EA |  | 0
63 | Fiber Optic Connection Hardware, F&I, Connector Panel | 6 | EA |  | 0
64 | Multi-Conductor ComunicationCommunication Cable, Furnish & Amp; Install, Cat 6 | 75 | LF |  | 0
65 | Pull & Amp; Splice Box, F& Amp; I, 13 X 24 Cover Size | 4 | EA |  | 0
66 | Pull & Amp; Splice Box, F& Amp; I, 24 X 36 Cover Size | 12 | EA |  | 0
67 | Pull & Amp; Splice Box, F& Amp; I, 30 X 60 Rectangular orOr 36 Round Cover Size | 4 | EA |  | 0
68 | Junction Box, Furnish & Amp; Install, Mounted | 5 | EA |  | 0
69 | Electrical Power Service, F& Amp; I, Underground, Meter Furnished By Contractor | 1 | AS |  | 0
70 | Electrical Service Wire, FFurnish & Amp: Install | 655 | LF |  | 0
71 | Electrical Service Disconnect, F& Amp; I, Pole Mount | 1 | EA |  | 0
72 | Prestressed Concrete Pole, F& Amp; I, Type P-II Service Pole | 1 | EA |  | 0
73 | Concrete CCTV,CCTV Pole, Furnish & Amp; Install, withWith Lowering Device (63') | 1 | EA |  | 0
74 | Concrete CCTV,CCTV Pole, Furnish & Amp; Install, withWith Lowering Device (75') | 1 | EA |  | 0
75 | ITS Cabinet, FurnushFurnish & Amp; Install, Pole Mount With Sunshield, 336S, 24" W X 46" H X 22" D | 1 | EA |  | 0
76 | ITS CCTV Camera, F& Amp; I, Non-pressurized, lp,Pressurized, Ip, High Definition | 1 | EA |  | 0
77 | Managed Field Ethernet Switch, Furnish & Amp;Install | 3 | EA |  | 0
78 | Wireless Communication Device, Furnish & Install | 1 | EA |  | 0
79 | Uninterruptible Power Supply, Furnish andAnd Install, Line Interactive | 1 | EA |  | 0
TOTAL |  |  |  |  | 0
STRUCTURAL
Line Item | Description | Quantity | Unit of Measure | Unit Cost | Total
80 | Nonaccessible Gantry - 66' SpanRemote Power Management Unit- Rpmu, Furnish and Install | 3 | EA |  | 0
TOTAL |  |  |  |  | 0