## Sheet1
The Green-Simmons Company, Inc.
ROADWAY/ CIVIL
Line Item | Description | Quantity | Unit of Measure | Unit Cost | Total
1 | Mobilization | 1 | LS |  | 0
2 | Maintenance of Traffic | 1 | LS |  | 0
3 | Stormwater Pollution Prevention (Must include NPDES Permit, Plans, Installation and Replacement) | 1 | LS |  | 0
4 | Building Permit from Escambia County | 1 | LS |  | 0
5 | Existing toll Booth Demolition | 1 | LS |  | 0
6 | Clearing & Grubbing | 1 | LS |  | 0
7 | Manhole Adjustment | 1 | EA |  | 0
8 | Removal of Existing Concrete | 3594 | SY |  | 0
9 | Milling Existing Asphalt- 2" Average Depth | 6012 | SY |  | 0
10 | 6" Bahama Rock Subbase | 1406 | SY |  | 0
11 | 8" Bahama Rock Subbase | 1406 | SY |  | 0
12 | Type SP-12.5 (PG 76-22 Mix)- 2" Depth | 840 | TN |  | 0
13 | Type SP-9.5 (PG 76-22 Mix)- 1-1/2" Depth | 115 | TN |  | 0
14 | Erosion Cloth | 447 | SY |  | 0
15 | Rip-Rap, Bank and Shore | 1406 | TN |  | 0
16 | White Sand Per Escambia County Standards | 2186 | CY |  | 0
17 | Curb & Gutter, FDOT Type F | 2002 | LF |  | 0
18 | 12" Ribbon Curb | 127 | LF |  | 0
19 | Concret Traffic Separator, Type I - 4' Wide | 183 | LF |  | 0
20 | Concrete Traffic Seperator, Type I - 6' Wide | 157 | LF |  | 0
21 | Crash Cushion, TL-3, Narrow | 4 | EA |  | 0
22 | Thermoplastic, 6" Solid White | 0.091 | GM |  | 0
23 | Thermoplastic, 6" Solid Yellow | 0.034 | GM |  | 0
24 | Thermoplastic, 8" Solid White | 0.14 | GM |  | 0
25 | Thermoplastic, 6" Skip White (10-30) | 0.023 | GM |  | 0
26 | Thermoplastic, 6" Skip White (2-4) | 0.05 | GM |  | 0
27 | Thermoplastic, 18" White for Diagonals and Chevrons | 1392 | LF |  | 0
28 | Thermoplastic, Standard, White, Arrow | 2 | EA |  | 0
29 | Yellow 8" Painted Pavement Markings | 8 | LF |  | 0
30 | 6' Chain link Fence | 120 | LF |  | 0
31 | 6' Chain link Single Gate | 1 | EA |  | 0
32 | Install New Traffic Sign | 6 | EA |  | 0
33 | Relocate Existing Traffic Sign | 2 | EA |  | 0
34 | Temporary Pavement - MOT | 544 | SY |  | 0
35 | Arrow Board- MOT | 2 | EA |  | 0
36 | Channelizing Devices- MOT | 260 | EA |  | 0
37 | Work Zone Signs- MOT | 33 | EA |  | 0
38 | Type III Barricades- MOT | 17 | EA |  | 0
ROADWAY/ CIVIL TOTAL: |  |  |  |  | 0
The Green-Simmons Company, Inc.
INTELLIGENT TRANSPORTATION SYSTEMS (ITS)
Line Item | Description | Quantity | Unit of Measure | Unit Cost | Total
39 | Conduit, Furnish & Amp; Install Open Trench | 2580 | LF |  | 0
40 | Conduit, Furnish & Amp; Install Direction Bore | 3692 | LF |  | 0
41 | Conduit, Furnish & Amp; Install Aboveground | 95 | LF |  | 0
42 | Conduit, Furnish & Amp; Install Bridge Mount | 14560 | LF |  | 0
43 | Fiber Optic Cable, F&Amp; I, Underground, 2-12 Fibers | 372 | LF |  | 0
44 | Fiber Optic Cable, F&Amp; I, Underground, 13-48 Fibers | 11675 | LF |  | 0
45 | Fiber Optic Connection, Install, Splice | 36 | EA |  | 0
46 | Fiber Optic Connection Hardware, F&Amp; I, Splice Enclosure | 4 | EA |  | 0
47 | Fiber Optic Connection Hardware, F&Amp; I, Splice Tray | 6 | EA |  | 0
48 | Fiber Optic Connection Hardware, F&Amp; I, Preterminated Connector Assembly | 24 | EA |  | 0
49 | Fiber Optic Connection Hardware, F&Amp; I, Patch Panel, Field Terminated | 2 | EA |  | 0
50 | Fiber Optic Connection Hardware, F&Amp; I, Connector Panel | 2 | EA |  | 0
51 | Multi-Conductor Communication Cable, Furnish & Amp; Install, Cat 6 | 36 | LF |  | 0
52 | Pull & Amp; Splice Box, F & Amp; I, 13 X 24 Cover Size | 4 | EA |  | 0
53 | Pull & Amp; Splice Box, F & Amp; I, 24 X 36 Cover Size | 12 | EA |  | 0
54 | Pull & Amp; Splice Box, F & Amp, I, 30 X 60 Rectangular or 36 Round Cover Size | 4 | EA |  | 0
55 | Junction Box, Furnish & Amp; Install, Mounted | 5 | EA |  | 0
56 | Electrical Power Service, F & Amp; I, Underground, Meter Furnished By Contractor | 1 | AS |  | 0
57 | Electrical Service Wire, F & Amp: Install | 608 | LF |  | 0
58 | Electrical Service Disconnect, F & Amp; I, Pole Mount | 1 | EA |  | 0
59 | Electrical Power Service- Transformer, F & Amp; I, &It; 5kVa Single Phase, Copper Windings | 1 | EA |  | 0
60 | Prestressed Concrete Pole, F & Amp; I, Type P-II Service Pole | 1 | EA |  | 0
61 | Concrete CCTV, Furnish & Amp, Install, with Lowering Device (63') | 1 | EA |  | 0
62 | Concrete CCTV, Furnish & Amp, Install, with Lowering Device (75') | 1 | EA |  | 0
63 | ITS Cabinet, Furnish & Amp; Install, Pole Mount With Sunshield, 336S, 24" W X 46" H x 22" D | 1 | EA |  | 0
64 | Outdoor Communications Cabinet, Furnish & Amp; Install, Toll Site | 1 | EA |  | 0
65 | ITS CCTV Camera, F & Amp; I, Non- pressurized, Ip, High Definition | 1 | EA |  | 0
66 | Managed Field Ethernet Switch, Furnish & Amp; Install | 2 | EA |  | 0
67 | Managed Field Ethernet Switch, Furnish & Amp; Install | 1 | EA |  | 0
68 | Uniterruptible Power Supply, Furnish and Install, Line Interactive | 1 | EA |  | 0
69 | Remote Power management Unit- Rpmu, Furnish and Install | 2 | EA |  | 0
INTELLIGENT TRANSPORTATION SYSTEMS (ITS) TOTAL : |  |  |  |  | 0
The Green-Simmons Company, Inc.
STRUCTURAL
Line Item | Description | Quantity | Unit of Measure | Unit Cost | Total
70 | Nonaccessible Gantry - 66' Span | 1 | EA |  | 0
71 | Barrier Pier | 8 | LF |  | 0
72 | Barrier Wall-Standard | 89 | LF |  | 0
73 | Barrier Wall-Transition | 72 | LF |  | 0
74 | Drilled Shaft | 40 | LF |  | 0
75 | ITS Pole Foundation | 10 | LF |  | 0
76 | Equipment Platform | 1 | LS |  | 0
77 | Painting and Coating (Gantry + Platform) | 1 | LS |  | 0
STRUCTURAL TOTAL : |  |  |  |  | 0